## Maintenance Checklist
Linux Server maintenance checklist
S.No | Task | Daily | Weekly | Monthly | Initial/Occasionally
1 | Verify backups
2 | Delete temporary files
3 | Check disk usage
4 | Check RAID alarms
5 | check remote management tools
6 | Check hardware errors
7 | check server utilization
8 | review user accounts
9 | Check system security
10 | hotfixes, service packs, etc
11 | update control panel
12 | check application updates
13 | Remotely scan server for vulnerabilities
14 | Test backup archive integrity
15 | Check available server resources, compare historical resource usage over time, to determine if a hardware upgrade is needed in the future.
16 | change passwords
17 | Test recoveries

## Tools & Technologies
Required Technology | Description
Disk Defragmenter | Tool used to analyze volumes for fragmentation. Also used to defragment volumes.
System Monitor (formerly known as Performance Monitor) | Tool used to collect data on server health and performance
Event Viewer | Tool used to monitor and gather information on system, security, and application events
Quota Entries window | To be used to view and configure quotas on a volume
Microsoft Distributed File System (DFS) Microsoft Management Console (MMC) | Tool used to monitor DFS namespace, including roots, links, and targets
Disk Cleanup | Tool used to remove temporary files, Internet cache files, and unnecessary program files
Backup | Tool used to perform backup and restore operations
Ntfrsutl.exe | Tool used for troubleshooting FRS on DFS
Dfsutil.exe | Tool used to configure and troubleshoot DFS
Srvinfo.exe | Tool used to gather system information from servers
Volperf.exe | Tool used to install performance objects and counters for volume shadow service
Fsutil.exe | Tool used to manage Windows® file system
Iologsum.cmd | Tool used for troubleshooting FRS on DFS
Windows Management Instrumentation (WMI) | Tool used to configure WMI settings such as permissions for authorized users and groups and turning error logging on or off